## Slide 1: Hold it there - Utilising soil hydrology and temporary storage areas to attenuate surface runoff
Martyn Roberts1,2, Josie Geris1, Paul Hallett3 & Mark Wilkinson2
1 School of Geosciences, University of Aberdeen, UK
2 James Hutton Institute, Aberdeen, UK
3 School of Biological Sciences, University of Aberdeen, UK
WCSS22: Soil water, pollutant and gas movement in the context of a changing climate
3/8/2022

## Slide 2: Changing climate

## Slide 3: Temporary storage areas (TSAs)
Create NEW additional water storage
Reduce water connectivity
Drain shortly after the rainfall event

## Slide 4: How temporary storage areas work
Channel fill
Direct precipitation
Surface
runoff
Subsurface flow
Evapotranspiration
Outlet
Subsurface flow
Overflow
?
Changes in soil structure
Sedimentation

## Slide 5: Soil structure dynamics

## Slide 6: Study sites: Bunds (Hillslope TSAs)
Tarland
Invergowrie
Brown earth (freely-drained)
TSA volume ~200m3
Winter wheat (September)
Brown earth (freely-drained)
TSA volume ~250m3
Spring barley (ploughed: December, sown: May)

## Slide 7: Fieldwork design
Zone | Description
Active | ~10% full Inundated for the longest time
TSA full | ~50-100% full Active during large storms
Field | Field control points outside the wetted footprint
Spatial sampling
Temporal measurements
Winter, Growing season, Post-harvest, Tillage – 2 cycles
Aerial imagery: © Getmapping plc

## Slide 8: Results
WCSS22: Soil water, pollutant and gas movement in the context of a changing climate

## Slide 9: Saturated hydraulic conductivity
Tarland bund
Invergowrie bund
Temporal: p<0.001
Temporal: p<0.001

## Slide 10: Bulk density
Spatial: p<0.001
Temporal: p<0.05
Tarland bund
Invergowrie bund

## Slide 11: Macroporosity
Spatial: p<0.001
Temporal: p<0.001
Tarland bund
Invergowrie bund

## Slide 12: Hold it there …
emporary storage areas HOLD water, reduce peak flows, recharge groundwater and decrease runoff and erosion.
T
S
A
lumping of soil structure in winter adversely affects TSA drainage and storage.
djustable TSA outlets could be used to manage temporal variations in drainage rates and maintain TSA effectiveness.
WCSS22: Soil water, pollutant and gas movement in the context of a changing climate

## Slide 13: Acknowledgements
Supervised by:
Dr Mark Wilkinson
Dr Josie Geris
Prof Paul Hallett
Funded by Hydro Nations Scholars Programme
Contact: m.roberts.20@abdn.ac.uk
@Martyn20Roberts mroberts20
WCSS22: Soil water, pollutant and gas movement in the context of a changing climate